## top_30_death_devices
DEVICE_GROUP | COUNT | PERCENT
INSULIN DEVICE FAMILY | 310708 | 14.79
DENTAL FAMILY | 306851 | 14.61
OMNIPOD 5 PODS | 26086 | 1.24
FLASH GLUCOSE MONITORING SYSTEM | 25822 | 1.23
PERMANENT PACEMAKER ELECTRODE | 23612 | 1.12
CONTINUOUS GLUCOSE MONITORING SYSTEM | 14071 | 0.67
INTERVENTIONAL FLUOROSCOPIC X-RAY SYSTEM | 12659 | 0.6
WEARABLE CARDIOVERTER DEFIBRILLATOR | 11895 | 0.57
IMPLANTABLE LEAD | 10569 | 0.5
IMPLANTABLE CARDIOVERTER DEFIBRILLATOR (NON-CRT) | 10251 | 0.49
CONTINUOS GLUCOSE MONITORING SYSTEM | 8538 | 0.41
AUTOMATED DISPENSING CABINET | 8504 | 0.4
VENTRICULAR (ASSIST) BYPASS | 6484 | 0.31
DRUG ELUTING PERMANENT RIGHT VENTRICULAR (RV) | 5026 | 0.24
BLOOD GLUCOSE MONITORING SYSTEM | 3764 | 0.18
INTRAVASCULAR ADMINISTRATION SET | 3620 | 0.17
DEFIBRILLATOR/PACEMAKER | 3593 | 0.17
PERMANENT DEFIBRILLATOR ELECTRODES | 3364 | 0.16
PACEMAKER | 2791 | 0.13
FOLEY CATHETER | 2593 | 0.12
MITRAL VALVE REPAIR DEVICES | 2563 | 0.12
NO MATCH | 2458 | 0.12
LEADLESS PACEMAKER | 2310 | 0.11
IMPLANTABLE PACEMAKER | 2226 | 0.11
PACING LEAD | 2106 | 0.1
CLINICAL CHEMISTRY ANALYZER | 2083 | 0.1
DEVICE INCONTINENCE MECHANICAL/HYDRAULIC | 2051 | 0.1
PERIPHERAL IV CATHETERS | 1940 | 0.09
REPLACEMENT HEART-VALVE | 1921 | 0.09
POWERED LASER SURGICAL INSTRUMENT | 1906 | 0.09

## death_rate
DEVICE_GROUP | DEATH_RATE
VENTRICULAR (ASSIST) BYPASS | 24.7378
CARDIAC PLUG | 12.4233
LEADLESS PACEMAKER | 6.7532
CORONARY DRUG-ELUTING STENT | 6.6989
CARDIAC IRREVERSIBLE ELECTROPORATION SYSTEM CATHETER | 3.4692
WEARABLE CARDIOVERTER DEFIBRILLATOR | 2.2362
DRUG ELUTING PERMANENT LEFT VENTRICULAR (LV) PACEMAKER ELECTRODE | 1.959
TRANSCATHETER SEPTAL OCCLUDER | 1.8237
IMPLANTABLE DEVICE | 1.6224
MITRAL VALVE REPAIR DEVICES | 1.5607
DEFIBRILLATOR/PACEMAKER | 1.4473
AED | 1.3223
DRUG ELUTING PERMANENT RIGHT VENTRICULAR OR ATRIAL PACEMAKER ELECTRODES | 1.145
IMPLANTABLE CARDIOVERTER DEFIBRILLATOR (NON-CRT) | 1.1023
DRUG ELUTING PERMANENT RIGHT VENTRICULAR (RV) OR RIGHT ATRIAL (RA) PACEMAKER ELE | 1.0114
DRUG ELUTING PERMANENT RIGHT VENTRICULAR (RV) | 0.99483
REPLACEMENT HEART-VALVE | 0.93701
PERMANENT PACEMAKER ELECTRODE | 0.89361
DEFIBRILLATOR | 0.88938
DRUG ELUTING PERMANENT LEFT VENTRICULAR (LV) P | 0.8547
NEVRO SENZA | 0.85197
PERMANENT DEFIBRILLATOR ELECTRODES | 0.80262
NO MATCH | 0.7323
INTRACRANIAL NEUROVASCULAR STENT | 0.36541
REPLACEMENT HEART VALVE | 0.2574
ICD | 0.25189
ICD LEAD | 0.24922
POWERED LASER SURGICAL INSTRUMENT | 0.1574
SCS IPG | 0.14472
PACING LEAD | 0.14245

## third_party_event_rate
SERVICED_BY_3RD_PARTY_FLAG | D | IN | M | O
N | 0.35315 | 75.6697 | 23.9754 | 0.0017757
U | 0.66356 | 27.2982 | 72.0382 | 0
Y | 0.01431 | 10.2757 | 89.71 | 0

## device_available
DEVICE_AVAILABILITY_CLEAN | D | IN | M | O
Available | 0.15691 | 30.8315 | 68.9933 | 0.018265
Not Available | 0.68922 | 33.588 | 65.7192 | 0.0036433
Returned | 0.1157 | 51.5577 | 48.3241 | 0.002468
Unknown | 1.2584 | 29.1464 | 69.4654 | 0.12978

## operator_event
DEVICE_OPERATOR_CLEAN | D | IN | M | O
Health Professional | 0.52654 | 66.064 | 33.4032 | 0.0062523
Lay Person / Patient | 0.4576 | 15.5504 | 83.9904 | 0.001545
Unknown | 0.098427 | 1.6166 | 98.2845 | 0.00053493

## device_report_product_code
DEVICE_REPORT_PRODUCT_CODE | COUNT | DEVICE_NAME
DZE | 745835 | IMPLANT, ENDOSSEOUS, ROOT-FORM
QBJ | 379880 | CONTINUOUS GLUCOSE MONITOR
QFG | 328239 | ALTERNATE CONTROLLER ENABLED INSULIN INFUSION PUMP
OZP | 152969 | AUTOMATED INSULIN DOSING DEVICE SYSTEM, SINGLE HORMONAL CONTROL
BRY | 61848 | AUTOMATED DISPENSING CABINET
BZD | 60714 | VENTILATOR, NON-CONTINUOUS (RESPIRATOR)
FRN | 53488 | PUMP, INFUSION
NAY | 49305 | MONOPOLAR CURVED SCISSORS
PQF | 38645 | SENSOR, GLUCOSE, INVASIVE, NON-ADJUNCTIVE
FPA | 35090 | SET, ADMINISTRATION, INTRAVASCULAR
LGW | 31445 | LEAD
FTR | 31350 | PROSTHESIS, BREAST, NONINFLATABLE, INTERNAL, SILICONE GEL-FILLED
DTB | 25909 | PERMANENT PACEMAKER ELECTRODE
LWS | 24632 | ELECTRODE
NVN | 23659 | IMPLANTABLE LEAD